## Slide 1
Area A
Area B
Area C
Tie line
between areas A and C
Tie line
between areas A and B
Tie line
between areas B and C

## Slide 2
Secure the required quantity
N day
N+1 day
N-1 day
0
6
18
12
0
0
6
18
12
6
18
12
0
PV/WF
Actual value of PV/WF output
Forecasted output
PV/WF
Actual value of PV/WF output
PV/WF
Actual value of PV/WF output
Forecasted output
N+1 day
day-ahead scheduling
Optimization target period
Fix variables
Fix variables
N day
intra-day scheduling
Optimization target period
Variable values are inherited
from the previous optimization
Variable values are inherited
from the previous optimization
Fixed to zero
Margin of tie line
Fixed to defined value
N day
day-ahead scheduling
Optimization target period
Target period (delivery date )
Margin of tie line
Fixed to the defined value
Margin of tie line
Fix UC for large-scale power generation
Fix UC for large-scale power generation
Tertiary reserve
Secured tertiary reserve
Used to meet the power balance
Tertiary reserve
Secure the required quantity

## Slide 3
ΔkW no-market type
(delta-kW-no-market)
ΔkW bid type
(delta-kW-bid)
Day-ahead scheduling
Intra-day scheduling
Tertiary reserve
Secured as the required reserve quantity
(no procurement cost is counted)
Secured tertiary reserve
Used as reserve to meet the power balance
Tertiary reserve
Secured as ΔkW, with procurement cost counted at its ΔkW value
Secured tertiary reserve
The power balance is met within the secured ΔkW, and procurement cost is counted for the kWh used (kWh value)
Only the UC (start-up/shutdown) schedule is inherited
(secured ΔkW is not inherited)
The ΔkW secured in day-ahead scheduling is inherited into intra-day scheduling