## Slide 1
Tie
line
facility capacity
Total transfer capability
Scheduled interchange power
Free capacity
Result of Assumptions 1 and 2 interchange flexibility is this range.
Determined by synchronous stability limits, thermal capacity limits, frequency maintenance limits, voltage stability limits, etc.
Assumption 2
Margin can be used for Scheduled interchange power and interchange flexibility.
Margin
Assumption 1
Margin can be used for interchange flexibility.
Free capability for flexibility
= Margin + Free capability
Maximum
Scheduled interchange power

## Slide 2
Maximum
Scheduled interchange power
(forward)
Margin
(counter)
Scheduled interchange power
(forward)
Interchange flexibility (counter)
Total transfer capability (counter)
+ Scheduled interchange power (forward)
Interchange flexibility (forward)
Total transfer capability (forward)
- Scheduled interchange power (forward)
Margin
(forward)
Maximum
Scheduled interchange power
(counter)
Total transfer capability
(forward)
Total transfer capability
(counter)

## Slide 3
Maximum
Scheduled interchange power
(forward)
Margin
(counter)
Scheduled interchange power
(counter)
Interchange flexibility (counter)
Total transfer capability (counter)
- Scheduled interchange power (counter)
Interchange flexibility (forward)
Total transfer capability (forward)
+ Scheduled interchange power (counter)
Margin
(forward)
Maximum
Scheduled interchange power
(counter)
Total transfer capability
(forward)
Total transfer capability
(counter)

## Slide 4
0
6
18
12
0
0
6
18
12
6
18
12
0
Optimization target period
Decision variables fixed
Decision variables fixed
N day
day-ahead scheduling
Large-scale power generations UC fixed
Large-scale power generations UC fixed
at N day intra-day scheduling
at N+1 day day-ahead scheduling
at N+1 day day-ahead scheduling
N day
N-1 day
N+1 day
Optimization target period
Optimization target period
N day
intra-day scheduling
N+1 day
day-ahead scheduling
at N day intra-day scheduling